## Slide 1: FARADIC FOOT BATH
Dr Pragati Patil

## Slide 2
Electrical stimulator by faradic current may be applied in baths
Can be used to stimulates
Lumbricals
Plantar Interrossei
Abductor Hallucis

## Slide 3
Position of the patients in high sitting with back well supported
Position the feet on a stool covered with a plastic sheet
Place the foot in a bath containing enough warm water to cover the toes

## Slide 4
To stimulate Lumbricals place two elecrodes transversely.
one under the heel
Second under the metatarsal heads.

## Slide 5
To stimulate the Plantar interossei place one electrode on each side of the level of metatarsal shafts

## Slide 6
A surged faradic current is used for this
Surge duration 1 sec
Surge interval 3 sec
Intensity- patients tolerance (enough to produce a visible contraction of the muscles)
Treatment time- 10 to 15 minutes

## Slide 7: Indications
Flat foot
Hyperhydrosis
Chronic retro calcaneal bursitis
March fracture (metatarsal fracture)
Pott’s fracture (fractures around ankle)
Metatarsalgia
Plantar fasciitis
Calcaneal spur
Hallux valgus
Rheumatoid arthritis of foot
Poor musculature of arch of foot

## Slide 8: Contraindication
Fever
Hypertension
Open wound
Hypersensitive skin
Loss of sensation

## Slide 9
THANK YOU